## EIM Industry
Course-wise Training Infrastructure and Facilities
Course Name: | Electrical Installation & Maintenance (Industry)
Number of Trainees: | 25
Course-wise Training Space (Theoretical Classroom, Workshop/ Lab/ Classroom cum Workshop)
| Course Name | SICIP required space for 25 trainees
| Electrical Installation & Maintenance (Industry) | Classroom – 350 sft Workshop/ lab – 1000 sft
Major Training Equipment and Training Facilities
•The institute shall not use the same facilities for any other projects/organizations offering a similar course. •The institute must provide sufficient evidence to prove ownership of the proposed training equipment. The list denotes the minimum training equipment and facility required to effectively conduct training for a specific course. Additionally, the institute must ensure that all other necessary training tools, equipment, and furniture are available to meet the requirement of competency standards (CS) provided by SICIP. For the operation of training course on Electrical Installation & Maintenance (Industry), the institute must ensure the availability of at least 80% of the major training equipment and training facilities (according to the CS) to be eligible for SICIP training delivery. If the score is below 80%, the remaining equipment and facilities need to be installed before the commencement of the training. The institute will also provide all other hand tools and power tools as per CS for 25 trainees. Also, they will arrange adequate seating arrangement and classroom setup for the 25 trainees.
S.N. | Major Equipment and Training facilities | Required facilities | Available facilities | Weights (out of 10) | Weighted scores | Remarks
1 | Computer/Laptop with internet facility | 1 | 0 | 5
2 | Multimedia projector & screen | 1 | 0 | 5
3 | Wiring Board | 20 | 0 | 8
4 | Motor Coil Rewinding machine | 5 | 0 | 8
5 | Main Distribution Board with busbar, CB and other accessories (Training model) | 5 | 0 | 8
6 | Sub Distribution Board with busbar, CB and other accessories (Training model) | 5 | 0 | 8
7 | DOL Starter panel | 4 | 0 | 7
8 | Star Delta Starter panel | 2 | 0 | 7
9 | Reverse Forward Starter panel | 2 | 0 | 7
10 | Magnetic contactor (coil voltage 220V and 400V) | 20 | 0 | 6
11 | Relay | 10 | 0 | 5
12 | Timer | 10 | 0 | 4
13 | Pilot lamp & Push switch | 20 | 0 | 3
14 | Push switch | 30 | 0 | 3
15 | Generator (Minimum 2 KW) | 1 | 0 | 8
16 | Solar power system set [Solar panel (minimum 40W), battery, charge controller, inverter and load] | 2 | 0 | 8
17 | Electric drill machine | 5 | 0 | 5
18 | Electric grinding machine | 2 | 0 | 5
19 | Soldering Stations | 5 | 0 | 4
20 | Energy Meter (1 Phase) | 10 | 0 | 6
21 | Energy Meter (3 Phase) | 5 | 0 | 6
22 | Multi meter/AVO meter | 10 | 0 | 6
23 | Earth tester | 2 | 0 | 6
24 | Digital weight machine | 1 | 0 | 3
25 | Insulation tester | 2 | 0 | 6
26 | Tachometer | 2 | 0 | 4
27 | Clamp Meter | 2 | 0 | 5
28 | Phase sequence meter | 1 | 0 | 5
29 | Single phase induction motor | 4 | 0 | 7
30 | Three phase induction motor (minimum 3hp) | 4 | 0 | 7
31 | Ceiling fan | 10 | 0 | 4
32 | Table fan | 4 | 0 | 3
33 | Bench Vice | 5 | 0 | 4
Sum
Score out of 100
Total achieved points out of 30 | [5 empty] | Points