## ATTC-Building Electrif
Course-wise Training Infrastructure and Facilities
Course Name: | Building Electrification
Number of Trainees: | 20
Course-wise Training Space (Theoretical Classroom, Workshop/ Lab/ Classroom cum Workshop)
| Course Name | SICIP required space for 20 trainees
| Building Electrification | Classroom – 400 sft Workshop/ lab – 600 sft
Major Training Equipment and Training Facilities
•The institute shall not use the same facilities for any other projects/organizations offering a similar course. •The institute must provide sufficient evidence to prove ownership of the proposed training equipment. The list denotes the minimum training equipment and facility required to effectively conduct training for a specific course. Additionally, the institute must ensure that all other necessary training tools, equipment, and furniture are available to meet the requirement of competency standards (CS) provided by SICIP. For the operation of training course on Building Electrification, the institute must ensure the availability of at least 80% of the major training equipment and training facilities (according to the CS) to be eligible for SICIP training delivery. If the score is below 80%, the remaining equipment and facilities need to be installed before the commencement of the training. The institute will also provide all other hand tools and power tools as per CS for 20 trainees. Also, they will arrange adequate seating arrangement and classroom setup for the 20 trainees.
S.N. | Major Equipment and Training facilities | Required facilities | Available facilities | Weights (out of 10) | Weighted scores | Remarks
1 | Computer/Laptop with internet facility | 1 |  | 5
2 | Multimedia projector & screen | 1 |  | 5
3 | Wiring Board | 20 |  | 9
4 | Main Distribution Board with busbar, CB and other accessories (Training model) | 1 |  | 8
5 | Sub Distribution Board with busbar, CB and other accessories (Training model) | 10 |  | 8
6 | Magnetic contactor (coil voltage 220V and 400V) | 5 |  | 7
7 | Push switch | 30 |  | 4
8 | Generator | 1 |  | 7
9 | Electric drill machine | 5 |  | 6
10 | Electric grinding machine | 2 |  | 6
11 | Soldering Stations | 5 |  | 6
12 | Energy Meter (1 Phase) | 10 |  | 6
13 | Energy Meter (3 Phase) | 1 |  | 6
14 | Multi meter/AVO meter | 10 |  | 7
15 | Earth tester | 1 |  | 5
16 | Insulation tester | 2 |  | 5
17 | Clamp Meter | 2 |  | 5
18 | Phase sequence meter | 1 |  | 5
19 | Single phase induction motor | 2 |  | 6
20 | Ceiling fan | 10 |  | 4
Sum
Score out of 100
Total achieved points out of 30 | [5 empty] | Points